## Bus Data
B1
B2
B3
B4
B5
LP1
LP2
LP3
LP4
Note on A2: Sondre Modalsli Aaberg: List of buses and load points in the system

## Line Data
| Length | Upstream Bus | Downstream Bus | Fuse/breaker direction | Disconnector direction | Cable Type | Nr Transformers | Transformer Type | Nr Protection | Nr Breaker | Breaker Type
S1 | 2 | B1 | B2 | U | N | Line 1 | 0 | 0 | 0 | 1
S2 | 1 | B2 | B3 | N | U | Line 1 | 0 | 0 | 1 | 0
S3 | 3 | B3 | B4 | N | U | Line 1 | 0 | 0 | 1 | 0
S4 | 2 | B4 | B5 | N | U | Line 1 | 0 | 0 | 1 | 0
S5 | 1 | B2 | LP1 | N | U | Line 2 | 0 | 0 | 1 | 0
S6 | 3 | B3 | LP2 | N | U | Line 2 | 0 | 0 | 1 | 0
S7 | 2 | B4 | LP3 | N | U | Line 2 | 0 | 0 | 1 | 0
S8 | 1 | B5 | LP4 | N | U | Line 2 | 0 | 0 | 1 | 0
Note on B1: Sondre Modalsli Aaberg: Length lines at the section (input as float)
Note on C1: Sondre Modalsli Aaberg: Name of the bus at the upstream end of the section
Note on D1: Sondre Modalsli Aaberg: Name of the bus at the downstream end at the section
Note on E1: Sondre Modalsli Aaberg: Position of instantanius protection elements at the section N = none U = an element at the upstream end D = an element at the downstream end B = an element at both ends
Note on F1: Sondre Modalsli Aaberg: Same as the fuse/breaker collumn, but for disconnectors
Note on G1: Sondre Modalsli Aaberg: The type of cable at the section from the Component Data
Note on H1: Sondre Modalsli Aaberg: Number of transformers at section
Note on I1: Sondre Modalsli Aaberg: Type of transformer, defined in Component Data
Note on J1: Sondre Modalsli Aaberg: Number of protection elements at section
Note on A2: Sondre Modalsli Aaberg: List of sections in the system

## Load Point Data
| Customer type | Load level average [MW] | Load point peak [MW] | Number of customers
LP1 | residential | 0.535 | 0.8668 | 210
LP2 | residential | 0.535 | 0.8668 | 210
LP3 | residential | 0.535 | 0.8668 | 210
LP4 | residential | 0.566 | 0.9167 | 1
Note on B1: Sondre Modalsli Aaberg: Customer type (optinal, this column does nothing)
Note on C1: Sondre Modalsli Aaberg: These next three columns are necessary for calculating reliability indices
Note on A2: Sondre Modalsli Aaberg: List of load points, must be the same names as the load points in the buses sheet

## Generation Data
| Lim MW | Lim MVAR | Main Feeder
B1 | inf | inf | True
Note on D1: Sondre Modalsli Aaberg: True/False Determines if the generation is a main feeder or DERs
Note on A2: Sondre Modalsli Aaberg: List of generation, same names as in buses sheet

## Backup Feeders
| End 1 | End 2 | s
BS1 | B5 | B1 | 0.5
Note on A1: Sondre Modalsli Aaberg: List of backup feeders
Note on D1: Sondre Modalsli Aaberg: Swithing time of backup feeder

## Component Data
Component | lambda | r | s
Line 1 | 0.1 | 4 | 0.5
Line 2 | 0.2 | 2 | 0.5
Note on A1: Sondre Modalsli Aaberg: List of component types for use in the section data
Note on B1: Sondre Modalsli Aaberg: Yearly failure rate of component (pr. length for lines)
Note on C1: Sondre Modalsli Aaberg: Repair time of component (arvrage, repair rate for the purposes of MCs)
Note on D1: Sondre Modalsli Aaberg: Swithing time of component, pnly repair times for lines are used as a proxy for disconnector swithing times