## Bus Data
B1
B2
B3
B4
B5
A
B
C
BB

## Line Data
| Length | Upstream Bus | Downstream Bus | Fuse/breaker direction | Disconnector direction | Cable Type | Nr Transformers | Transformer Type
MF | 0 | B1 | B2 | U | N | Line 1 | 0 | 0
S1 | 2 | B2 | B3 | N | D | Line 1 | 0 | 0
S2 | 3 | B3 | B4 | N | D | Line 1 | 0 | 0
S3 | 1 | B4 | B5 | N | D | Line 1 | 0 | 0
L1 | 3 | B2 | A | U | N | Line 2 | 0 | 0
L2 | 2 | B3 | B | U | N | Line 2 | 0 | 0
L3 | 1 | B4 | C | U | N | Line 2 | 0 | 0

## Load Point Data
| Customer type | Load level average [MW] | Load point peak [MW] | Number of customers
A | residential | 0.535 | 0.8668 | 210
B | residential | 0.535 | 0.8668 | 210
C | residential | 0.535 | 0.8668 | 210

## Generation Data
| Lim MW | Lim MVAR | Main Feeder
B1 | inf | inf | True
BB | inf | inf | True

## Backup Feeders
End 1 | End 2 | s

## Component Data
Component | lambda | r | s
Line 1 | 0.1 | 3 | 0.5
Line 2 | 0.25 | 1 | 0.5